# IoT Platform Technology Evaluation (Table Format)

| Technology | Recommendation | Where to Use | Why Use | Why Not / Limitation |
| --- | --- | --- | --- | --- |
| Node-RED | Conditional (Edge Only) | Edge Gateway / Prototyping | Fast integration, supports many protocols | Not scalable for high throughput |
| Apache Kafka | Not Required | Future Analytics Only | High throughput | Heavy, overlaps with NATS |
| ClickHouse | Must Use | Primary Storage | High performance analytics | — |
| MinIO | Use | Cold Storage | S3 compatible, scalable | — |
| FUXA | Limited Use | HMI | Easy dashboards | Not for high-frequency data |
| Grafana | Use | Monitoring | Great dashboards | Limited for heavy real-time streams |
| Apache Superset | Use | BI Layer | Strong analytics dashboards | Not real-time focused |
| ERPNext | Optional | Business Layer | ERP workflows | Not core telemetry |
| Prometheus + Loki | Must Use | Monitoring/Logging | Essential observability | — |
| Keycloak | Must Use | Security Layer | SSO, RBAC | — |